# Asbestos Management Plan (AMP)

# Enter building name

Date:	Plan written/revised date

Property ID Information

Street Address:	Enter street address

Town:	Enter town

Region:	Enter region

Parish / Church entity:	Name of parish or church entity that stewards the property

MCNZ property ID (office use):	Connexional office use

Key building dates Building age helps establish the likelihood of asbestos

|  | Pre 1920 | 1920-2001 | Post 2001 |
| --- | --- | --- | --- |
| Building built | Year | Year | Year |
| Any Renovations done | Year | Year | Year |
| Additions built | Year | Year | Year |
|  | Statement needed | AMP needed | Statement needed |

Buildings that are 100% Pre-1920 or Post-2001 – asbestos is extremely unlikely but still possible. Display the appropriate asbestos statement and report to MCPC.

Built or modified between 1920 and 2001, an AMP is necessary

Who is the “font” of all property knowledge  Enter name of person who knows the building best

(who knows: property age, renovation dates, materials used, builders' names...)

| Mark as applicable | Owner? | Landlord? | Tenant? |
| --- | --- | --- | --- |
| Is MCNZ... |  |  |  |
|  | Parish responsible for AMP |  | Sight the landlords plan and follow it |

Building use Communicate, consult and coordinate with these people. Who might be exposed, how often, how likely?

| Building Area | Mark if applicable | Used by |
| --- | --- | --- |
| Chapel |  | Parishioners |
| Worship Centre |  | Parishioners |
| Office space |  | Parish staff |
| Presbyter office |  | Presbyter |
| Hall – hired out |  | Various groups |
| Presbytery/parsonage |  | Presbyter |
| Residential Rental |  | Tenants |
| Other offices |  | Enter the group |
| Leased other |  | Enter the group |
| Op shop |  | Enter the group |
| School (any age) |  | Enter the group |
| Aged Care |  | Enter the group |
| Retail spaces |  | Enter the group |
| Afterschool care |  | Enter the group |
| enter a building area |  | Who uses that area |

Tenant List

Plans to control asbestos need to be shared with these organisations, they need to share with their clients and maintenance workers. Update this list whenever tenancies change.

| Business Name | Contact | Phone | Activity |
| --- | --- | --- | --- |
| enter business name | enter contact person name | enter phone number | enter what they do |

Contact names and duties

- Coordinate between Property and Health & Safety Committee.

- Keep asbestos items updated in H&S Risk register, detail the plans to isolate or eliminate asbestos risk in all areas of the building/s until Refurb/demo occurs

- Inform all tenants and building occupants of the plan!

H&S Officer:  Enter H&S Officer’s name and contact details, or

Property Convenor:  Enter Property Convenor’s name and contact details

Documents to Append to AMP
Keep good records to demonstrate and justify the decisions made in the AMP

| Document |  |
| --- | --- |
| Asbestos Management Statement | See page 4, below |
| A Site Plan/Building Plan | Ref “Creating your Floor Plan”, Bricks and Mortar Online, Section 6 |
| General Photos | Include the location and date of photo |
| Asbestos Register | Ref “Asbestos Register”, Bricks and Mortar Online, Section 6 |
| Asbestos Demolition / Refurbishment Surveys | Provided by asbestos survey consultants |
| Asbestos Clearance Certificates | Provided after asbestos has been removed |
| Report to MCPC | Record when MCPC has been informed of AMP/register updates |

Review this Plan

This plan must be regularly reviewed, particularly when one of the following occurs:

- Building use change

- Land Use changes (asbestos can contaminate soil)

- Tenancy change

- Property committee membership change

- Planning for property projects or maintenance. Demolition/Refurbishment Asbestos Survey is required at this stage.

Review this plan at least every 5 years until all asbestos is gone!

Work and Visitor Protocols 
Ensure everyone entering the property is aware of the asbestos control plans in place.

Contractors

Everyone carrying out work in this building (s) will be required to access and review all asbestos surveys and the asbestos management plan before undertaking any work.

This will be provided by the person (s) responsible for managing asbestos, or other relevant team members, and will form part of the induction process.

Where potential asbestos-containing materials are to be worked on, no work will take place until an appropriate method statement of work has been produced and the Permit-to-Work procedures have been authorised and implemented.

If you suspect asbestos is present, cease work and inform the Property Convenor or H&S Officer.

Emergency Services

Emergency Services attending the site must be given access to the asbestos survey and management plan upon arrival if their work involves interaction with the building (s).

They may undertake emergency demolition works; the Connexional Office will need to be notified as soon as possible healthandsafety@methodist.org.nz, or 03 366 6049 ext 823.

Emergency Procedures 
Follow these steps if an asbestos event occurs.

Where asbestos-containing materials (ACMs) have been damaged, or damaged materials/suspected deterioration are identified during inspection processes, the Property Committee will instigate the emergency procedure below:

- Secure the affected area immediately, ensuring no access is permitted (signage should be displayed and barriers erected where appropriate);

- Review impact on the building's operational procedures, i.e. if a room is affected, alternative arrangements would need to be made as the room cannot be used;

- Contact the Connexional property team, who can provide advice and guidance as necessary.

- Maintain controlled access to the area until such time as formal clearance has been confirmed; and

- Maintain good communication with all tenants and other relevant parties (including neighbours and others who may be in the immediate vicinity), providing updates as necessary to ensure the access arrangements are not breached.

# Asbestos Management Statement

# Enter building name

Street Address:	Enter street address

Town:	Enter town

Region:	Enter region

Parish / Church entity:	Name of parish or church entity that stewards the property

Select one...

For buildings built, refurbished or added onto between 1920 and 2001 We, the parish, do not yet know what does or does not contain asbestos in our buildings. Therefore, we will treat all surfaces and building materials as if they contain asbestos, which means: - We will leave all surfaces and building materials alone until they have been further assessed - We will undertake an in-depth assessment before we start any building work. - Work on asbestos-containing materials will only be carried out by qualified contractors

For buildings completely built after 2001 No Asbestos-Containing Materials were specified for this building, and this building was built to code and specification. All other care should be taken when working on this building, you are at extremely low risk of exposure to asbestos. If you suspect any materials of containing asbestos, leave them alone and then tell the Parish Property Convenor or H&S Officer.

This sign is to be displayed where all building users, visitors and contractors can see it.

Dated: 26/05/2026